## Standard dilution scheme
Standard | Conc NO3 uM | Vol NO3 uL | Vol DI uL | Final vol (uL)
A | 0 | 0 | 1000 | 1000 |  | Instructions:
B | 2.5 | 5 | 995 | 1000 |  | 1. Input stock concentration, from which you are making standards, into C13
C | 5 | 10 | 990 | 1000 |  | 2. Total volume is 1 mL (1000 uL) [standard+DI]. If this changes, modify total volume in E13, in uL
D | 10 | 20 | 980 | 1000 |  | 3. Fill in C4-C8 with calibration standard ranges. Typically 5 point calibration: 0, 2.5, 5, 10, 25 (all uM)
E | 25 | 50 | 950 | 1000 |  | 4. The table will autopopulate volume NO3 and Vol DI needed to pipette.
5. Pipette each standard in triplicate
6. Record absorbances in "Calibration" Sheet
Stock A is 5,000 uM (diluted stock from 5M NaNO3)
Stock B is 1 mL Stock A with 9 mL DI Water - 10ml total volume (to get 500 uM used below)
Concentrated Standard Notes:
Conc. Stock (uM) | 500 | Total volume | 1000
| umol/L |  | uL |  |  | If starting with LabChem 5M NaNO3:
Lab Chem NaNO3 is 5M, which is equal to 5,000mM and 5,000,000 uM
[5 empty] | ***RCS has this stock 3/2024 -> | To get to our desired starting stock of 500uM (500umol/L), first make a diluted Stock A (this is stable indefinitely and can be saved between trips, so might already be mixed)
To make Stock A, start with LabChem 5M stock, dilute 100 uL into 100 mL (total volume) DI for 5 mM = 5000 uM = 5000 umol/L
To create standards, further dilute Stock A to create Stock B, which can be used to mix standards. Mix 1 mL Stock A in 10 mL (9 mL DI + 1mL Stock A = 10 mL Stock B) for 500 uM
If starting with the 10 mg/L NO3-N (nitrate as nitrogen) stock:
10 mg/L NO3-N (nitrate as nitrogen) is equal to 714uM
This does not need to be diluted and can be used as is to make standards (same order of magnitude as 500uM), just change cell C14 to 714 to get accurate volumes to pipette
If using this it is important to show decimal places in the volumes calculated, because they will not be round numbers
For the lowest standard in particular (if using 2.5uM it will be 3.5uL)
The volumes may need to be doubled for this lowest standard (7uL and 1993uL DI) if the pipettes can't do 0.5uL increments.

## Calibration
Cruise no: |  | Run no:
Date: |  | Initials:
Time reacted:
Time run:
Concentrated Standard Used:
Conc (uM): | Abs543 A | Abs543 B | Abs543 C | Av Abs | stdev
0 |  |  |  | #DIV/0! | #DIV/0! | Slope | #DIV/0!
2.5 |  |  |  | #DIV/0! | #DIV/0! | Intercept | #DIV/0!
5 |  |  |  | #DIV/0! | #DIV/0! | R² | #DIV/0!
10 |  |  |  | #DIV/0! | #DIV/0!
25 |  |  |  | #DIV/0! | #DIV/0!
Instructions:
1. Fill in calibration concentrationss in B11-15
2. Upon running standards, record absorbances in C,D,E 11-15
3. Sample concentrations are calculated in "Samples" sheet based on the "blank" (F11) and slope of calibration curve (I11)

## Samples
Sample | Bottle # | Depth (m) | Abs543 A | Abs543 B | Abs543 3 | Dilution (=1 if none) | AVG Abs | Stdev abs | Concentration (uM) | Stdev Concentration (uM)
[7 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[7 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[7 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[7 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[7 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[7 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[7 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[7 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | Instructions:
[7 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 1. Enter bottle # and associated depth (true depth) from the hydrocast data
[7 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 2. Upon running samples, enter triplicate absorbances in D,E,F columns
[7 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 3. Concentration and standard deviation will autopopulate. Cells in red are BDL and can be changed to zeroes or annotated BDL
[7 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | Formula for concentration:
[7 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | "=[(average absorbance - average calibration blank)/slope of calibration]*dilution factor
[7 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | Formula for standard deviation of concentration:
[7 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | "= (standard deviation of absorbance/slope of calibration)*dilution factor
[7 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[7 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[7 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[7 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[7 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[7 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[7 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[7 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[7 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[7 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[7 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[7 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[7 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[7 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[7 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[7 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[7 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[7 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[7 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[7 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[7 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[7 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[7 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[7 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[7 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[7 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[7 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[7 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[7 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[7 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[7 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[7 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[7 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[7 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[7 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[7 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[7 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[7 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[7 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[7 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[7 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[7 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[7 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[7 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[7 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[7 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[7 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[7 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[7 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[7 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[7 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[7 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[7 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[7 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[7 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[7 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[7 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[7 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[7 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[7 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[7 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[7 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[7 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[7 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[7 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[7 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[7 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[7 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[7 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[7 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[7 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[7 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[7 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[7 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[7 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[7 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[7 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[7 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[7 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[7 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Note on G1: enter 1 if no dilution, enter 10 if diluted 1:10

## output
station | bottle | no3
0 | 0 | #DIV/0!